## Slide 1: Inter-Reg WaterMon Project
Half yearly progress report
By
Atripan Mukherjee, Amirmansoor Ashrafi & Lukas Richtera

## Slide 2: Objective
Detection of E.coli.
Detection of Ammonia, phosphates.
Detection of Uranium

## Slide 3: Potential matrix Ammonia selective electrode

## Slide 4: Concentration of Ammonia: 10^-5 m

## Slide 5: Concentration of Ammonia: 10^-4 m

## Slide 6: Concentration of Ammonia: 10^-3 m

## Slide 7: Concentration of Ammonia: 10^-2 m

## Slide 8
Procedure for phosphorus detection:-
Stock solution preparation: -
H2SO4-Antinony: - Mix 13.325ml of concentrated H2SO4 with 62.5 ml of distilled water and cool; dissolve .187g of Potassium antimony(III) tartrate hydrate and dilute to 250 mL. Remove any precipitate formed by filtration.
Molybdate: Dissolve 5.42 g of sodium molybdate in about 250 mL and dilute to 500 mL.
Digestion acid: - Mix 25.0 mL of Conc. H2SO4 with 125 mL of milli-Q water, cooled and diluted to 250 mL.
Standard phosphorous: - To make 1000 ppm P stock solution, dissolve 4.3937 g of dried KH2P04 in deionized H20 then dilute to 1 L. (10 ppm: 1 mL of 1000 ppm stock diluted to 100 mL).
Eisenreich, S.J., Bannerman, R.T. and Armstrong, D.E., 1975. A simplified phosphorus analysis technique. Environmental letters, 9(1), pp.43-53.

## Slide 9
Result
1 ppm
5 ppm
10 ppm
50 ppm
100 ppm

## Slide 10
Chart: Absorbance Vs Concentration
| 1 | 5 | 10 | 50 | 100
 | 0.309 | 0.411 | 0.45 | 0.51833 | 0.534
Calibration data