## Slide 1: INTERREG Meeting ATCZ-86
WaterMon
02.09.2021

## Slide 2: Agenda
Reports from the individual research groups on the progress of the project
Discussion and next steps
Publicity and general remarks

## Slide 3: Project Content & Highlights
Multi-sensor system for automatic measurement of specific water parameters
  Research & development on sensor modules for automatic measurement of water parameters
  Evaluation of the functionality and accuracy of the developed sensors
  Development of a webserver for data hosting and a webpage for data display with restricted access
  Presentation and publication of research highlights

## Slide 4: Project Organization
Sensor development
Webserver, Webpage
Sensor development
Presentation of results, reporting, publications
Project- management
Advisory Board:
Representatives of the BMLRT, WA2 and the Water Border Commission

## Slide 5: Monitoring-Station Concept
Power supply
Sensors DUK
Sensors CEITEC
Control unit
Wireless interface
Solar panel, Battery
Discussion Points:
Supply voltage, power consumption - power management
Interfaces - bus protocol
Overall size, module size
Security protection (data protection, stealing of station)
Buoy or stationary station
Notes: Power should supplied by a solar panel

## Slide 6: Webserver & Webpage
Water Quality
Sensor
Y
Webserver
Y
GSM Data Transfer
Webpage with restricted access
User
Authorization
required
River
Antenna
Antenna

## Slide 7: Report on Activities DUK
Development of Sensor Modules for Water Quality Measurements
Oilfilm Sensor Module
Research on the detection of other problematic microorganisms

## Slide 8: Report on Activities CEITEC/VUT

## Slide 9: Report on Activities CEITEC-VUT
Electrochemical detection of NH3
E-coli detection
Colorimetric detection of phosphorus
Development of colorimetric sensing module
Development of electrochemical sensing module
Development of station

## Slide 10: Technical Points to Discuss
Power supply and operating voltages
Communication protocol between the subunits
Design of the master unit

## Slide 11: Next Steps
Project meeting in Poysdorf in October 2021 or virtual (depends on Corona situation)
  Project progress report and presentation of each work group
  Discussion on next steps

## Slide 12: Summary and Outlook
Task: Sensor development
  DUK
  CEITEC/VUT
Task: Webserver/Webpage
Task: Reporting, Publicity
in plan
planned 2022
ongoing
in plan

## Slide 13: Thank you for the Attention Questions ?